Equipment Maintenance Recording Form

Maintenance is a regular, daily event.

1) It requires that scales be checked and ‘zeroed’ before each daily clinic.

2 It requires that length boards and stadiometers be checked and zeroed before each daily clinic.

A scale is zeroed by being sure that when the is nothing being weighed that the scale registers zero

| Date checked | Infant scale | Child/ adolescent scale | Infant Lengthboard | Stadiometer | Problems noted |
| --- | --- | --- | --- | --- | --- |

# Calibration Recording Form

Calibration is a monthly event.

1) It requires that scales be ‘tested’ with standard weights on at least a monthly basis.

2) It requires that movable scales be calibrated after each time the scale is moved.

3) It requires that lengthboards and stadiometers be checked with standard length rods on at least a monthly basis

4) It requires that moveable length boards and stadiometers be checked with standard rods after each time the equipment is moved.

| Date | Infant scales checked | Child/adolescent scales checked | Lengthboard checked | Stadiometer checked | Problems Noted |
| --- | --- | --- | --- | --- | --- |