LINEN INSPECTION CRITERIA

HUCK TOWEL

No stains allowed

Mend all hems and selvages

Mend holes up to 1 1/2” diameter

4 holes not exceeding 3/4”

WRAPPER-BARRIER

No dark stains allowed

Light stains up to 3” acceptable

Number of patches allowed:

24 x 24 = 6 patches per side

30 x 30 = 6 patches per side

36 x 36 = 9 patches per side

45 x 45 = 16 patches per side

Patches applied to both sides

Curlilng or lifted patches removed

No overlapping patches on one side

Number of patches not to exceed 12 per 12” square

Repair all edges

SURGEONS GOWN

No dark stains allowed

Light stains up to 3” allowed

No patching 12” above hem on front panel or on sleeves from cuffs to 16” above seam

Maximum of 3 patches on lower front

Maximum of 3 patches on upper sleeve

Maximum of 9 patches on back panel

Repair ties, snaps, hems and seams

Grid marked after each washing

Gown removed from service when both grids are full (maximum 150 washings)

1”,. 2”, 3”, 4” 	DRAPE

No dark stains allowed

Light stains up to 3” allowed

Maximum 3 patches per side

Patches applied to both sides

Curling patches removed

No overlapping patches allowed

Repair all seams

JUMPSUIT

Discretionary ink stains acceptable

Light stains up to 2”

Writing, with the exception of profanity, acceptable

Replace missing/broken ties and snaps

Mend all hems. seams, pockets

Mend holes up to 2” diameter

Mend tears up to 5” long

Mend stockinette cuffs

SURGERY TOWEL #1

No stains allowed

No patching acceptable

Maximum of 2 snags and 4 towel clip holes acceptable

No frayed edges or tears