## Slide 1
An Evaluation of Blockage Corrections for a Helical Cross-Flow Turbine
Robert J. Cavagnaro and Dr. Brian Polagye
Northwest National Marine Renewable Energy Center (NNMREC)
University of Washington
Oxford Tidal Energy Workshop
April 7, 2014

## Slide 2
Motivation
NNMREC has developed a “micropower” turbine for providing power to co-located oceanographic equipment
Understand hydrodynamics of the full-scale turbine by testing at lab scale
Determine if corrections rectify variable turbine performance at different testing facilities
Lab-scale – high variability of performance with velocity and facility
Field-scale – limited variability of performance with velocity
Blockage Ratio

## Slide 3
Micropower Rotor Parameters
High-Solidity, Helical Cross-flow turbine
N: Number of blades (4)
H/D: Aspect Ratio (1.4)
φ: Blade helix angle (60o)
σ: Turbine solidity (0.3)
Hydrofoil: NACA-0018
Lab (1/4) scale
  H = 23.4 cm, D = 17.2 cm, c = 4.0 cm
Field Scale
  H = 101.3 cm, D = 72.4 cm
  c = 17.3 cm

## Slide 4
Performance Characterization Experiments
Adjustable resistive load bank and power monitoring
Direct rotor torque measurement
Angular position measurement
Inflow and wake velocity measurement
  Upstream & downstream Acoustic Doppler Velocimeters
Thrust measurement
Tow vessel
Tow line (~100 m)
Skiff
(w/ load bank)
Rotor
Upstream ADV
Generator & gearbox
Skiff attachment
Torque sensor & encoder

## Slide 5
Field Experiment Implementation
Wake Characterization Experiment
Turbine Integration with Skiff

## Slide 6
Performance Characterization Experiments
Torque control with particle brake
Reaction torque measurement
Angular position measurement
Inflow velocity measurement
  Upstream ADV
Thrust measurement
Scale support cage
UW Flume
Load cell

## Slide 7
Experimental Facilities
Flow speed (m/s)
Blockage Ratio
Froude number
Turbulence Intensity
UW Aero Flume
Flow Speed (m/s)
Blockage Ratio
Froude number
Turbulence Intensity
Bamfield Flume
Reynolds Number
Reynolds Number
Cross Section (m2)
Cross Section (m2)

## Slide 8
Blockage Corrections
Corrections rely on various experimental parameters
T

## Slide 9
Blockage Corrections: Glauert (1933)
Becomes unstable for CT ≤ 1
T

## Slide 10
Blockage Corrections: Pope & Harper (1966)
T
“… for some unusual shape that needs to be tested in a tunnel, the authors suggest…”

## Slide 11
Blockage Corrections: Mikkelsen &
Sørensen (2002)
T
Extension of Glauert’s derivation, constrained channel LMADT

## Slide 12
Blockage Corrections: Bahaj et al. (2007)
T
Iterative solution of system of equations, incrementing U3/U2
Assumes U1, ω, T are same in tunnel and open water

## Slide 13
Blockage Corrections: Werle (2010)
T
Constrained channel LMADT
Also reached by Garrett & Cummins, 2007 and Houlsby et al., 2008

## Slide 14
Case 1: Lab to Field Comparison
Same flow speed (1 m/s), different blockage
Lab
Field
No thrust measurements for lab test case at 1 m/s

## Slide 15
Case 2: Performance with Varying Blockage
Same flow speed (0.7 m/s) at different facilities
Pope & Harper
Bahaj et al.
Werle

## Slide 16
Case 3: Performance at Varying Speed
Same blockage ratio and facility
Pope & Harper
Bahaj et al.
Werle
Indicates strong dependence on Rec at low velocity

## Slide 17
Reynolds Number Effect
Approximate Local Velocity
Sheldahl, R. E. and Klimas, P. C., 1981, “Aerodynamic characteristics of seven airfoil sections through 180 degrees angle of attack for use in aerodynamic analysis of vertical axis wind turbines,” SAND80-2114, March 1981, Sandia National Laboratories, Albuquerque, New Mexico.

## Slide 18
Angle of Attack Variation
Tip Speed Ratio
Angular Position

## Slide 19
Significance of Dynamic Stall
Range of α at position of maximum torque along each blade

## Slide 20
Conclusions
Determining full-scale, unconfined hydrodynamics through use of a model may be challenging
All evaluated corrections reduced scatter of lab scale performance data
Thrust measurements may not be needed to apply a suitable blockage correction
Caution is needed when applying blockage corrections
  Especially for cross-flow geometry
No corrections account for full physics of problem
Family of performance curves at low speed likely due to performance at low Reynolds number and dynamic stall

## Slide 21
Acknowledgements
This material is based upon work supported by the Department of Energy under Award Number DE-FG36-08GO18179.
Funding for field-scale turbine fabrication and testing provided by the University of Washington Royalty Research Fund.
Fellowship support was provided by Dr. Roy Martin.
Two senior-level undergraduate Capstone Design teams fabricated the turbine blades and test rig.
Fiona Spencer at UW AA Department and Dr. Eric Clelland at Bamfield Marine Sciences Centre for support and use of their flumes.
Robert Cavagnaro is supported by the Department of Energy (DOE) Office of Energy Efficiency and Renewable Energy (EERE) Postdoctoral Research Awards under the EERE Water Power Program administered by the Oak Ridge Institute for Science and Education (ORISE) for the DOE. ORISE is managed by Oak Ridge Associated Universities (ORAU) under DOE contract number DE-AC05-06OR23100. All opinions expressed in this presentation are the author's and do not necessarily reflect the policies and views of DOE, ORAU, or ORISE.

## Slide 22
Bahaj, a. S., Molland, a. F., Chaplin, J. R., & Batten, W. M. J. (2007). Power and thrust measurements of marine current turbines under various hydrodynamic flow conditions in a cavitation tunnel and a towing tank. Renewable Energy, 32(3), 407–426. doi:10.1016/j.renene.2006.01.012
Linear Momentum Theory, Actuator Disk Model
Solved iteratively by incrementing ratio of bypass flow velocity to wake velocity (U3/U2)
Free-stream performance and λ derived from velocity correction
Where U1 is the water speed through the disk
Depends on inflow velocity, blockage ratio, and thrust
Blockage Corrections: Bahaj et al. (2007)

## Slide 23
Induction & Wake
Flow direction