University of Washington Introductory Physics Labs

For questions on this or any other Intro Physics Labs SOP contact

Introductory Labs Manager							Scientific Instructional Technician

Jack Olsen	 		by phone at: (206) 543 – 7094		Elana Voigt			by phone at: (206) 543 - 8588

by e-mail at: olsenjr@uw.edu							by email at: elanav@uw.edu

| Standard Operating Procedures for Chemicals or Processes |  |  |  |
| --- | --- | --- | --- |
| #1 Process (if applicable) | Hydrochloric Acid- Eliminate incompatible materials from potential spill area. Know the location of the nearest fire extinguisher, eyewash, and safety shower before beginning work. Never work alone. Make sure there is another worker present who is also trained in the hydrochloric acid SOP. Hydrochloric acid is corrosive and hazardous by inhalation. Wear gloves and use in a well-ventilated hood, or if using low strength solution that you are in a well-ventilated laboratory area. Hood is available for use in basement room B092. The dilution of hydrochloric acid is exothermic. Always add acid slowly to the bulk water component. Do not add the water to the acid. Always clearly label solutions with their contents. |  |  |
| #2 Chemicals | Hydrochloric acid is a reagent used in organic reactions, and is a strong, corrosive acid. Researchers should wear lab coats, gloves, and safety goggles or safety glasses with side shields when handling hydrochloric acid. All work with concentrated hydrochloric acid should be done inside a fume hood. As a reagent, hydrochloric acid may be used in quantities of <1mL up to 1L, and across a wide range of temperatures. When working with concentrated hydrochloric acid, it is important to make sure the work area is free of any bases as these may react violently with the acid. It is also common to prepare dilute solutions of hydrochloric acid for use as reagents, or for working up organic reactions. When diluting hydrochloric acid with water, the concentrated hydrochloric acid should be added slowly to water to minimize the exothermic nature of the reaction and any dangers from splashing. Any solutions which contain hydrochloric acid should be disposed of as hazardous waste after reactions are complete. Hydrochloric acid should be stored in a secondary container inside a designated corrosive cabinet. Additionally, hydrochloric acid should be stored in a separate area from any bases due to the danger of an exothermic reaction if allowed to mix. Also, hydrochloric acid should be stored away from oxidizers since mixing can lead to the generation of chlorine gas |  |  |
| #3 Personal Protective Equipment (PPE) | Respiratory protection Masks are available in the PPE supply area of B140. Hand protection Type of gloves recommended for Hydrochloric acid: Neoprene for large volumes or long exposures; Nitrile acceptable for small quantities and dilute solutions. Gloves available in B140 are nitrile and both thick and thin versions are available. Eye protection Type of eye protection used to handle the chemical: Splash goggles. If used in large quantities, please use appropriate face shield. Expected use is of small quantities so while goggles are available as of 11/3/17 face shields are not. If you require a face shield please contact the Introductory Labs Manager or Scientific Instructional Technician. Skin and body protection Long pants, closed-toed and closed-heeled shoes, cotton-based clothing/attire (no skin exposed below waist), and flame resistant lab coat must be worn for protecting against chemical hazards. A shop jacket and apron may be worn together in lieu of lab coat. Hygiene measures Handle in accordance with good industrial hygiene and safety practices. Avoid contact with skin, eyes and clothing. Wash hands before breaks, at the end of the workday, and immediately after handling Hydrochloric acid. |  |  |
| #4 Environmental / Ventilation Controls | Do not let product enter drains. Always use in well ventilated area. NOTE: Always have a chemical spill kit fully stocked and easily accessible at all times. |  |  |
| #5 Special Handling Procedures & Storage Requirements | Working alone: Certain extremely hazardous operations should not be performed if the PI or Lab Safety Contact(s) are not present. Never work alone with extremely hazardous materials/operations. See the Protocol/Procedure section for specific prohibitions (if any) on working alone with this material. Precautions for safe handling Avoid contact with skin and eyes. Avoid inhalation of vapor or mist. Always use inside a chemical fume hood. Note: In case you need to dilute the concentration of HCl, always add acid to water. Always transfer from container to the receptacle by using an appropriate funnel. DO NOT mouth-pipette HCl. Conditions for safe storage Do not store near combustible materials. Keep container closed when not in use. Store in a cool, dry, well-ventilated area away from incompatible substances. Do not store near alkaline substances. Store protected from moisture. Ideally, hydrochloric acid should be stored in isolation from all other chemicals in an approved acid or corrosives safety cabinet. Hydrochloric acid is incompatible with metals, oxidizing agents, reducing agents, bases, acrylonitrile, chlorates, finely powdered metals, nitrates, perchlorates, permanganates, epichlorohydrin, aniline, carbides, fulminates, picrates, organic materials, flammable liquids. Do not store in/with combustible packing material; such as cardboard, Styrofoam, plastic and paper. Keep container upright & tightly closed in a dry and well-ventilated place. Containers which are opened must be carefully resealed and kept upright to prevent leakage. Always store HCl in a secondary container. Note: Nalgene/polypropylene tray or a tub is the best suited secondary containment. Materials to avoid: Store segregated from – Organic Acids, Bases, Amines, Alkali metals, Metals, permanganates, e.g. potassium permanganate, sodium hypochlorite (bleach), Fluorine, metal acetylides, hexalithium disilicide. |  |  |
| #6 Spill and Accident Procedures | 1. Provide First Aid Immediately - For inhalation exposure: move out of contaminated area; get medical help - For sharps injury (needle stick or subcutaneous exposure): scrub exposed area thoroughly for 15 minutes using warm water and sudsing soap. - For skin exposure: use the nearest safety shower for 15 minutes; stay under the shower and remove clothing; use a clean lab coat or spare clothing for cover‐up. - For eye exposure: use the eye wash for 15 minutes while holding eyelids open. Chemical Spill on Body or Clothes – Remove clothing and rinse body thoroughly in emergency shower for at least 15 minutes. Seek medical attention. Notify Introductory Labs Manager or Scientific Instructional Technician and EH&S immediately. Chemical Splash Into Eyes – Immediately rinse eyeball and inner surface of eyelid with water from the emergency eyewash station for 15 minutes by forcibly holding the eye open. Seek medical attention. Notify Introductory Labs Manager or Scientific Instructional Technician and EH&S immediately. Medical Emergency Dial 911 Life Threatening Emergency, After Hours, Weekends And Holidays – Dial 911 or go to the nearest emergency room. Non-Life Threatening Emergency– Dial 911 or go to the nearest emergency room (UW Medical Center Emergency Room) or go to Hall Health. Notify Introductory Labs Manager or Scientific Instructional Technician and EH&S immediately. Notify Introductory Labs Manager or Scientific Instructional Technician and EH&S immediately after first aid is administered. Move out of dangerous area. Consult a physician. Show a safety data sheet and this SOP to the doctor in attendance If inhaled If breathed in, move person into fresh air. If not breathing, give artificial respiration, then call 911. Consult a physician. In case of skin contact Take off contaminated clothing and shoes immediately. Wash off with soap and plenty of water for at least 15 minutes. Consult a physician. In case of eye contact Rinse thoroughly with plenty of water for at least 15 minutes and consult a physician. Continue rinsing eyes during transport to hospital. If swallowed Do NOT induce vomiting. Never give anything by mouth to an unconscious person. Rinse mouth with water. Consult a physician. 2. Get Help - Call 911 or go to nearest Emergency Department (ED); provide details of exposure: - Agent - Dose - Route of exposure - Time since exposure - Bring to the ED the SDS/MSDS and this SOP - Notify your supervisor as soon as possible for assistance - Secure area before leaving; lock doors and indicate spill if needed 3. Report Incident to Environmental Health & Safety - Notify EH&S immediately after providing first aid and/or getting help During business hours (M‐F/8‐5) call: 206‐543‐7262 - After hours call: 206‐685‐UWPD (8973) to be routed to EH&S staff on call For all incidents and near misses, the involved person or supervisor completes and submits the UW Online Accident Reporting System (OARS) form within 24 hours (8 hours if serious injury or hospitalization). Chemical Spill Dial 911 Spill – Assess the extent of danger. Help contaminated or injured persons. Evacuate the spill area. Avoid breathing vapors. Eliminate sources of ignition if the chemical is flammable. If possible, confine the spill to a small area using a spill kit or absorbent material. Keep others from entering contaminated area (e.g., use caution tape, barriers, etc.). Small (<1 L) – If you have training, you may assist in the clean-up effort. Use appropriate personal protective equipment and clean-up material for chemical spilled. Double bag spill waste in clear plastic bags, label and take to the next chemical waste pick-up. Large (>1 L) – Dial 911 and 510-642-9090 for assistance. Decontamination/Waste Disposal Procedure NOTE: Lab-specific information on decontamination/waste disposal may be included in the Protocol/Procedure section. Wearing proper PPE, please decontaminate equipment and bench tops using soap and water. Please dispose of the spent hydrochloric acid and disposables contaminated with hydrochloric acid as hazardous waste. General hazardous waste disposal guidelines: NOTE: Segregate acid waste containers from base waste containers. Label Waste • Label all waste containers with the label provided in spill kits. Store Waste • Store hazardous waste in closed containers, in secondary containment and in a designated location. • Double-bag dry waste using transparent bags. • Waste must be under the control of the person generating & disposing of it |  |  |
| #7 Waste Disposal | Collect hydrochloric acid liquid waste in labeled 1 gal. plastic containers. Do not mix strongly acidic and strongly basic aqueous waste streams. Do not mix with other waste or incompatibles Store hazardous waste in closed containers, in secondary containment and in a designated location. Double-bag dry waste using transparent bags. Contact Jack Olsen or Elana Voigt to Label with Hazardous Waste Label, accumulate according to requirements, and send in Chemical Collection Request or Routine Pickup request, both available online at http://www.ehs.washington.edu/epowaste/chemwaste.shtm. Do not evaporate in the fume hood or pour down the drain. |  |  |
| #8 Special Precautions for Animal Use (if applicable) | N/A |  |  |
| Particularly hazardous substance involved? (See Appendix H, Lab Safety Manual) |  | YES: | Blocks #9 to #11 are Mandatory |
|  |  | X NO: | Blocks #9 to #11 are Optional. |
| #9 Approval Required | N/A |  |  |
| #10 Decontamination | N/A |  |  |
| #11 Designated Area | N/A |  |  |
| Name: Title: |  |  |  |
| Signature: Date: |  |  |  |

Environmental Health and Safety, Box 354400				*to be filled in by PI or Supervisor